

Leslie Sell Activity Centre[image: cid:image002.png@01D4E606.44911CA0]
[image: cid:AE6CCAFE-BB89-4B4B-B2FC-7A96224D5BDF]


Risk Assessment
Dormitory
FIRE EVACUATION PLANS CAN BE FOUND AT THE FOLLOWING LINK: https://www.lsac.org.uk/fire-evacuation-plans
	Item no.
	Hazard / Risks
	Who Is At Risk
	Risk 
	Control Measures
	Remaining Risk

	

	1.0
	Building cleanliness
	All
	3
	· Buildings to be clean before hire.  LSAC to comply with all current Government regulations and guidance.  Hirer to clean building on leaving.
	1

	2.0
	Safe storage of cleaning materials
	All
	2
	· Cleaning materials and hazardous chemicals to be stored in separate locked cupboard away from young people
· Over 18s only to access cleaning cupboard

	1

	3.0
	Poor building maintenance causing risks to users
	All
	3
	· All buildings regularly checked by LSAC staff to ensure no risks to hirer due to damaged building fabric and fixtures
	1

	4.0
	A building maintenance issue arises during hire
	All
	3
	· Report issue to LSAC contact who will develop a plan to address the maintenance issue
	1

	5.0
	Electrical systems operational
	
	4
	· All portable appliances are tested, and the fixed electrical systems reviewed in line with regulations (documentation available on request)

	2

	6.0
	Risks of waterborne bacteria such as Legionella
	All
	4
	· All building water systems regularly tested and maintained to reduce risks
	1

	7.0
	Fire Fighting
	All
	4
	· All portable fire-fighting equipment tested and maintained by qualified personnel
	1

	8.0
	Fire Risk Assessments
	All
	2
	· Fire risk assessments for all buildings are updated as necessary and available for inspection
	1

	9.0
	Ability to raise the alarm
	All
	4
	· All alarm systems, where provided, are tested and inspected on a regular basis
	1

	10.0
	Ability to escape from the building
	All
	4
	· All alarm systems, where provided, are tested and inspected on a regular basis
· All exits, both inside and out, to be kept clear at all times
· Clear escape signage provided and inspected as part of the emergency lighting testing plan
	1



Severity Factor and Remaining Risk Assessment
	Level
	Severity Description
	Residual Risk Description

	1
	Very low – i.e. splinters
	Very low, minimal risk, control measures more than adequate

	2
	Minor injury – i.e. cut, grazing
	Low, control measures satisfactory

	3
	Medium injury would stop casualty continuing with activity
	Medium, control measures adequate

	4
	Serious injury requiring medical attention i.e. broken bone, deep cut
	High, control measures need further consideration

	5
	Extremely harmful, very serious injury or fatality
	Very high, intolerable, stop activity





Activity Location:  Dormitory
Assessed By:  George Gordon
Date:  01/04/2026
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