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Risk Assessment
Field Toilet Block

	Item no.
	Hazard / Risks
	Who Is At Risk
	Risk 
	Control Measures
	Remaining Risk

	

	1.0
	Slippery floors
	All
	3
	· Toilets are not be cleaned while there are users in the building
· All excess water is to be removed off the floor surface with a squee-gee mop
· Staff / volunteers must wear suitable footwear
· Clearly display ‘wet floor’ signage after cleaning

	
2

	2.0
	Waterborne illnesses
	All
	4
	· Hot water temperature is to be between 60ºC and 65ºC
· Scale is removed from taps and shower systems quarterly
· Water system drained after long period of no use

	
1

	3.0
	Trapped fingers in main doors
	All
	4
	· Door restrictor adjusted to ‘soft close’

	
2

	4.0
	Electrical Power Failure
	All
	2
	· Emergency lighting installed throughout the building
· Emergency lighting checked monthly

	
1

	5.0
	Airborne illnesses
	All
	4
	· Extractor fans installed over shower and toilets for ventilation
· All surfaces disinfected regularly.  Cleaning increased when there is a high volume of use
· Hot water is used to clean floors and surfaces

	

	
	
	
	
	
	



Severity Factor and Remaining Risk Assessment
	Level
	Severity Description
	Residual Risk Description

	1
	Very low – i.e. splinters
	Very low, minimal risk, control measures more than adequate

	2
	Minor injury – i.e. cut, grazing
	Low, control measures satisfactory

	3
	Medium injury would stop casualty continuing with activity
	Medium, control measures adequate

	4
	Serious injury requiring medical attention i.e. broken bone, deep cut
	High, control measures need further consideration

	5
	Extremely harmful, very serious injury or fatality
	Very high, intolerable, stop activity





Activity Location:  Toilet Block
Assessed By:  George Gordon
Date:  01/04/2026
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