| Item no. | Hazard / Risks | Who Is At Risk | Risk | Control Measures | Remaining Risk |
| --- | --- | --- | --- | --- | --- |
| 1.0 | Slippery floors | All | 3 | - Toilets are not be cleaned while there are users in the building - All excess water is to be removed off the floor surface with a squee-gee mop - Staff / volunteers must wear suitable footwear - Clearly display ‘wet floor’ signage after cleaning | 2 |
| 2.0 | Waterborne illnesses | All | 4 | - Hot water temperature is to be between 60ºC and 65ºC - Scale is removed from taps and shower systems quarterly - Water system drained after long period of no use | 1 |
| 3.0 | Trapped fingers in main doors | All | 4 | - Door restrictor adjusted to ‘soft close’ | 2 |
| 4.0 | Electrical Power Failure | All | 2 | - Emergency lighting installed throughout the building - Emergency lighting checked monthly | 1 |
| 5.0 | Airborne illnesses | All | 4 | - Extractor fans installed over shower and toilets for ventilation - All surfaces disinfected regularly. Cleaning increased when there is a high volume of use - Hot water is used to clean floors and surfaces |  |

Severity Factor and Remaining Risk Assessment

| Level | Severity Description | Residual Risk Description |
| --- | --- | --- |
| 1 | Very low – i.e. splinters | Very low, minimal risk, control measures more than adequate |
| 2 | Minor injury – i.e. cut, grazing | Low, control measures satisfactory |
| 3 | Medium injury would stop casualty continuing with activity | Medium, control measures adequate |
| 4 | Serious injury requiring medical attention i.e. broken bone, deep cut | High, control measures need further consideration |
| 5 | Extremely harmful, very serious injury or fatality | Very high, intolerable, stop activity |